SECTION 06 15 00 – THERMALLY MODIFIED WOOD DECKING

GENERAL

SUMMARY

Section Includes: Thermally modified wood decking.

ADMINISTRATIVE REQUIREMENTS

Pre-Installation Conference:

Attendance: [Architect,] [Owner,] [Contractor,] [Construction Manager,] [Design/Builder] installer, and related trades.

Review: Project conditions, manufacturer requirements, delivery and storage, staging and sequencing, and protection of completed work.

SUBMITTALS

Action Submittals:

Product Data: Manufacturer’s descriptive data and product attributes.

Samples: [12] [__] inch long decking samples.

Closeout Submittals:

Maintenance Data: Product data and related information required for Owner's maintenance of products furnished.

Extra materials: [__] linear feet of each profile.

QUALITY ASSURANCE

Installer Qualifications: Minimum [2] [__] years’ experience in work of this Section.

Mockup: Minimum [4 x 8] [__ x __] feet. Approved mockup [may] [may not] remain as part of the Work.

DELIVERY, STORAGE AND HANDLING

Deliver, store, and handle products in accordance with manufacturer’s instructions.

PROJECT CONDITIONS

Do not install products when environmental conditions are outside of manufacturer’s recommended limits.

WARRANTY

Provide manufacturer’s 20 year warranty.

PRODUCTS

MANUFACTURERS

Contract Documents are based on products by Arbor Wood Co., www.arborwoodco.com.

Substitutions: [Refer to Division 01.] [Not permitted.]

REGULATORY REQUIREMENTS

Fire Retardant Treated Wood: Class A rated, tested to ASTM E2768.

30-minute burn rated, tested to NFPA 703 ignition resistant/non-combustible.

MATERIALS

Thermally Modified Wood Decking:

Species: Ash.

Profile: [Hidden fastener.] [Non-grooved.]

Size: [Nominal 5/4 x 6 inches, actual 1 x 5.5 inches.] [Nominal 5/4 x 4 inches, actual 1 x 3.5 inches.] [Nominal 4/4 x 6 inches, actual 0.75 x 5.5 inches.]

Ends: End matched.

Collection: Natrl.

Finish: No finish.

**** OR ****

    - Thermally Modified Wood Decking:

Species: Sothern Yellow Pine.

Profile: [Hidden fastener.] [Non-grooved.]

Size: Nominal 5/4 x 6 inches, actual 1 x 5.25 inches.

Ends: Square cut.

Collection: Natrl.

Finish: Clear Cutek oil.

ACCESSORIES

Deck Fasteners: DeckWise Ipeclip.

Plugs: Thermoplug, species and finish to match wood being fastened.

Tape: DeckWise WiseWrap.

End Sealer: DeckWise Ipe Seal.

Finish: [Cutek Extreme [with Cutek Colortone added, [____] color [to be selected from manufacturer’s full color range].] [DeckWise Wisecoat, [____] color [to be selected from manufacturer’s full color range].]

EXECUTION

INSTALLATION

Install in accordance with manufacturer’s instructions.

Apply end sealer to decking ends prior to installation.

Prior to installation of decking apply tape to top of joists, around deck support posts, and over ledger boards.

Secure decking to each support with deck fasteners.

Apply finish to exposed surfaces.

END OF SECTION